## AP1 DOE 3rd Floor
TC Calibration Coefficients Sept 10, 2014
Station 8 (Cold Side) |  | (+)Add (-) Subtract | Scale Data
Temp Setting | Actual Temp | Difference | 0 | 0
50 | 49.425 | 0.575 | 0.439 | 23.2
80 | 79.547 | 0.453 | 0.932 | 46.4
100 | 99.61 | 0.39 | 1.425 | 69.2
120 | 119.65 | 0.35 | 1.864 | 92.3
140 | 139.628 | 0.372 | 2.577 | 127.8
|  |  | 3.509 | 173.8
Station 8 (Hot Side) |  | (+)Add (-) Subtract
Temp Setting | Actual Temp | Difference
50 | 49.417 | 0.583
80 | 79.585 | 0.415
100 | 99.644 | 0.356
120 | 119.668 | 0.332
140 | 139.622 | 0.378
Station 7 (Cold Side) |  | (+)Add (-) Subtract
Temp Setting | Actual Temp | Difference
50 | 49.383 | 0.617
80 | 79.517 | 0.483
100 | 99.563 | 0.437
120 | 119.588 | 0.412
140 | 139.54 | 0.46
Station 7 (Hot Side) |  | (+)Add (-) Subtract
Temp Setting | Actual Temp | Difference
50 | 49.311 | 0.689
80 | 79.411 | 0.589
100 | 99.504 | 0.496
120 | 119.531 | 0.469
140 | 139.502 | 0.498
Station 6 (Cold Side) |  | (+)Add (-) Subtract
Temp Setting | Actual Temp | Difference
50 | 49.568 | 0.432
80 | 79.681 | 0.319
100 | 99.778 | 0.222
120 | 119.792 | 0.208
140 | 139.75 | 0.25
Station 6 (Hot Side) |  | (+)Add (-) Subtract
Temp Setting | Actual Temp | Difference
50 | 49.45 | 0.55
80 | 79.601 | 0.399
100 | 99.67 | 0.33
120 | 119.682 | 0.318
140 | 139.642 | 0.358
Station 5 (Cold Side) |  | (+)Add (-) Subtract
Temp Setting | Actual Temp | Difference
50 | 49.5 | 0.5
80 | 79.612 | 0.388
100 | 99.691 | 0.309
120 | 119.72 | 0.28
140 | 139.736 | 0.264
Station 5 (Hot Side) |  | (+)Add (-) Subtract
Temp Setting | Actual Temp | Difference
50 | 49.608 | 0.392
80 | 79.695 | 0.305
100 | 99.756 | 0.244
120 | 119.776 | 0.224
140 | 139.718 | 0.282
Station 4 (Cold Side) |  | (+)Add (-) Subtract
Temp Setting | Actual Temp | Difference
50 | 49.136 | 0.864
80 | 79.295 | 0.705
100 | 99.331 | 0.669
120 | 119.381 | 0.619
140 | 139.315 | 0.685
Station 4 (Hot Side) |  | (+)Add (-) Subtract
Temp Setting | Actual Temp | Difference
50 | 49.05 | 0.95
80 | 79.139 | 0.861
100 | 99.275 | 0.725
120 | 119.264 | 0.736
140 | 139.219 | 0.781
Station 3 (Cold Side) |  | (+)Add (-) Subtract
Temp Setting | Actual Temp | Difference
50 | 49.477 | 0.523
80 | 79.603 | 0.397
100 | 99.657 | 0.343
120 | 119.673 | 0.327
140 | 139.606 | 0.394
Station 3 (Hot Side) |  | (+)Add (-) Subtract
Temp Setting | Actual Temp | Difference
50 | 49.351 | 0.649
80 | 79.522 | 0.478
100 | 99.583 | 0.417
120 | 119.641 | 0.359
140 | 139.608 | 0.392
Station 2 (Cold Side) |  | (+)Add (-) Subtract
Temp Setting | Actual Temp | Difference
50 | 49.108 | 0.892
80 | 79.256 | 0.744
100 | 99.365 | 0.635
120 | 119.381 | 0.619
140 | 139.334 | 0.666
Station 2 (Hot Side) |  | (+)Add (-) Subtract
Temp Setting | Actual Temp | Difference
50 | 49.147 | 0.853
80 | 79.207 | 0.793
100 | 99.293 | 0.707
120 | 119.331 | 0.669
140 | 139.266 | 0.734
Station 1 (Cold Side) |  | (+)Add (-) Subtract
Temp Setting | Actual Temp | Difference
50 | 49.451 | 0.549
80 | 79.589 | 0.411
100 | 99.655 | 0.345
120 | 119.66 | 0.34
140 | 139.631 | 0.369
Station 1 (Hot Side) |  | (+)Add (-) Subtract
Temp Setting | Actual Temp | Difference
50 | 49.511 | 0.489
80 | 79.641 | 0.359
100 | 99.709 | 0.291
120 | 119.763 | 0.237
140 | 139.711 | 0.289

## AP3
TC Calibration Coefficients Sept 10, 2014
Station 1 (Hot Side) |  | (+)Add (-) Subtract
Temp Setting | Actual Temp | Difference
50 |  | 50
80 |  | 80
100 |  | 100
120 |  | 120
140 |  | 140
Station 2 (Hot Side) |  | (+)Add (-) Subtract
Temp Setting | Actual Temp | Difference
50 |  | 50
80 |  | 80
100 |  | 100
120 |  | 120
140 |  | 140
Station 3 (Hot Side) |  | (+)Add (-) Subtract
Temp Setting | Actual Temp | Difference
50 |  | 50
80 |  | 80
100 |  | 100
120 |  | 120
140 |  | 140
Station 4 (Hot Side) TC1 |  | (+)Add (-) Subtract | Station 4 (Hot Side) TC2 |  | (+)Add (-) Subtract |  | Station 4 (Hot Side) TC3 |  | (+)Add (-) Subtract | Station 4 (Hot Side) TC4 |  | (+)Add (-) Subtract | Station 4 (Hot Side) TC5 |  | (+)Add (-) Subtract | Station 4 (Hot Side) TC6 |  | (+)Add (-) Subtract
Temp Setting | Actual Temp | Difference | Temp Setting | Actual Temp | Difference |  | Temp Setting | Actual Temp | Difference | Temp Setting | Actual Temp | Difference | Temp Setting | Actual Temp | Difference | Temp Setting | Actual Temp | Difference
50 | 50.1 | -0.1 | 50 | 50.1 | -0.1 |  | 50 | 49.9 | 0.1 | 50 | 50.2 | -0.2 | 50 | 50.1 | -0.1 | 50 | 49.8 | 0.2
80 | 80.2 | -0.2 | 80 | 80.2 | -0.2 |  | 80 | 80 | 0 | 80 | 80.2 | -0.2 | 80 | 80.2 | -0.2 | 80 | 79.9 | 0.1
100 | 100.1 | -0.1 | 100 | 100.1 | -0.1 |  | 100 | 100 | 0 | 100 | 100.3 | -0.3 | 100 | 100.1 | -0.1 | 100 | 99.8 | 0.2
120 | 120.1 | -0.1 | 120 | 120.1 | -0.1 |  | 120 | 120 | 0 | 120 | 120.2 | -0.2 | 120 | 120.1 | -0.1 | 120 | 119.8 | 0.2
140 | 140.1 | -0.1 | 140 | 140.1 | -0.1 |  | 140 | 140.1 | -0.1 | 140 | 140.2 | -0.2 | 140 | 140.1 | -0.1 | 140 | 139.8 | 0.2
Station 5 (Hot Side) TC1 |  | (+)Add (-) Subtract | Station 5 (Hot Side) TC2 |  | (+)Add (-) Subtract | Station 5 (Hot Side) TC3 |  | (+)Add (-) Subtract |  | Station 5 (Hot Side) TC4 |  | (+)Add (-) Subtract | Station 5 (Hot Side) TC5 |  | (+)Add (-) Subtract | Station 5 (Hot Side) TC6 |  | (+)Add (-) Subtract
Temp Setting | Actual Temp | Difference | Temp Setting | Actual Temp | Difference | Temp Setting | Actual Temp | Difference |  | Temp Setting | Actual Temp | Difference | Temp Setting | Actual Temp | Difference | Temp Setting | Actual Temp | Difference
50 | 50.1 | -0.1 | 50 | 50.1 | -0.1 | 50 | 50.1 | -0.1 |  | 50 | 50.1 | -0.1 | 50 | 50.1 | -0.1 | 50 | 49.9 | 0.1
80 | 80.2 | -0.2 | 80 | 80.2 | -0.2 | 80 | 80.2 | -0.2 |  | 80 | 80.2 | -0.2 | 80 | 80.2 | -0.2 | 80 | 80 | 0
100 | 100.1 | -0.1 | 100 | 100.1 | -0.1 | 100 | 100.1 | -0.1 |  | 100 | 100.3 | -0.3 | 100 | 100.1 | -0.1 | 100 | 100.1 | -0.1
120 | 120.1 | -0.1 | 120 | 120.2 | -0.2 | 120 | 120.1 | -0.1 |  | 120 | 120.1 | -0.1 | 120 | 120.1 | -0.1 | 120 | 120 | 0
140 | 140.1 | -0.1 | 140 | 140.2 | -0.2 | 140 | 140.1 | -0.1 |  | 140 | 140.2 | -0.2 | 140 | 140.1 | -0.1 | 140 | 139.9 | 0.1
Station 6 (Hot Side) TC1 |  | (+)Add (-) Subtract | Station 6 (Hot Side) TC2 |  | (+)Add (-) Subtract | Station 6 (Hot Side) TC3 |  | (+)Add (-) Subtract |  | Station 6 (Hot Side) TC4 |  | (+)Add (-) Subtract | Station 6 (Hot Side) TC5 |  | (+)Add (-) Subtract | Station 6 (Hot Side) TC6 |  | (+)Add (-) Subtract
Temp Setting | Actual Temp | Difference | Temp Setting | Actual Temp | Difference | Temp Setting | Actual Temp | Difference |  | Temp Setting | Actual Temp | Difference | Temp Setting | Actual Temp | Difference | Temp Setting | Actual Temp | Difference
50 | 50.7 | -0.7 | 50 | 50.6 | -0.6 | 50 | 50.4 | -0.4 |  | 50 | 50.6 | -0.6 | 50 | 50.5 | -0.5 | 50 | 50.2 | -0.2
80 | 80.8 | -0.8 | 80 | 80.7 | -0.7 | 80 | 80.5 | -0.5 |  | 80 | 80.8 | -0.8 | 80 | 80.5 | -0.5 | 80 | 80.2 | -0.2
100 | 100.7 | -0.7 | 100 | 100.6 | -0.6 | 100 | 100.5 | -0.5 |  | 100 | 100.7 | -0.7 | 100 | 100.5 | -0.5 | 100 | 100.3 | -0.3
120 | 120.8 | -0.8 | 120 | 120.6 | -0.6 | 120 | 120.5 | -0.5 |  | 120 | 120.6 | -0.6 | 120 | 120.5 | -0.5 | 120 | 120.2 | -0.2
140 | 140.7 | -0.7 | 140 | 140.6 | -0.6 | 140 | 140.5 | -0.5 |  | 140 | 140.6 | -0.6 | 140 | 140.5 | -0.5 | 140 | 140.2 | -0.2