## Sheet1
Washer DOE Equipment List
Supplier | Manufacturer | Model | P/N | Quantity | Individual Cost | Line Total | Status | PO Number | Tracking
Measurement Instruments | Chroma | Programmable AC Source 4KVA | 61605 | 8 |  | 94720 |  | 1003614
|  | SoftPanels for [61500/61600/6151x/6461x] | 8562 |  | 680 |  |  | 1003614
|  | Universal Socket Center (1 phase<15A) | A610004 |  | 95 |  |  | 1003614
|  | Boost Transformer (600Vac/max.1.8KVA) [61500/61600] | A615003 |  | 1545 |  |  | 1003614
|  | DC Noise Filter (max.16A) [61500/61600/61700] | A615008 |  | 250 |  |  | 1003614
|  | USB-to-RS232 Adapter Kit [63200/61x00/6x00] | 7887 |  | 200 |  |  | 1003614
|  | Mod Option, HV-320VAC [61500/61600/61700] | 8193 |  | 1300 |  |  | 1003614
|  | Sync Cable Assy [61500/61600] | 8189 |  | 30 |  |  | 1003614
Measurement Instruments | Yokogawa | WT310 | WT332-D-C1/C7/G5 | 5 | 4775 | 24740 |  | 1003717
Measurement Instruments | Emcor | 10 Series Rack Kit (57.75x27.562x47.375) 30U |  | 1 | 5446 | 5446 |  | 1004098
Newark | Laurel Electronics |  |  | 16 | 51.43 | 822.88 | Ordered | 4011739
National Instruments | National Instruments | NI GPIB-USB-HS | 778927-01 | 3 | 585 | 1755 | Ordered | 1003615
National Instruments | National Instruments | Ethernet-to-GPIB | 781630-01 | 1 | 1225 | 1225 | Ordered | 1003615
National Instruments | National Instruments | Rack Mount for GPIB-ENET/100/1000, ENET-232/485, USB-232/485 | 187322-02 | 1 | 107 | 107 | Ordered | 1003615
Newark | Phoenix Contact | Network Switch,5PORT,100MBPS | 2891152 | 8 | 142.07 | 1136.56 | Ordered | 4011813
B&B Electronics | B&B Electronics | USB 4 Port Up/Down Isolated Hub - 4Kv | UHR304 | 8 | 299 | 2392 | Ordered | 1003661
Dell | D-Link | D-Link 24-Port 10/100/1000TX Gigabit Switch | A0395549 | 1 | 158.83 | 158.83 | Ordered | 13005
Newark | TE Connectivity | RJ45 Pass-Through Jack | 1546413-3 | 8 | 27.57 | 220.56 | Ordered | 4011813
Newark |  | USB Cable (2M) |  | 24 | 2.56 | 61.44 | Ordered
Newark |  | USB Coupler Panel Mount |  | 8 | 15.99 | 127.92 | Ordered
Newark |  | RJ45 Pass-Through Jack |  | 16 | 21.92 | 350.72 | Ordered
Newark |  | Connector AC Power Receptacle 15A |  | 8 | 18.12 | 144.96 | Ordered
| International Configurations | Shucko Connectors |  | 8 | 30 | 240
0
0
0
0
0
Total | [5 empty] | 133648.87